## Slide 1: Power Electronics
DC-AC Converters (Inverters)
逆变器
Please read Chapter 8 in the textbook
Dr Atif Jafri
Atif.Jafri@glasgow.ac.uk

## Slide 2: Scheme of Study
Fundamental
Types of Inverters
Half-bridge Inverter
  Ideal Circuit Diagram
  Operation
  Output Waveform
  Harmonics
  Practical Circuit Diagram
  Avoiding shoot through

## Slide 3: Fundamentals
DC-AC Converters are known as inverters
Role is to convert a DC signal to AC
Ideally, output should be sinusoidal.
In reality, these are non-sinusoidal and contain harmonics
This is fine for low and medium power applications
Divided into two main types
  Single Phase
  Three Phase
Semiconductor devices typically used
The basic building block is the ‘Bridge’ circuit
https://www.youtube.com/watch?v=qVeERT4nyz8

## Slide 4: Inverter Types
Half Bridge Inverter (Ideal)
Full Bridge Inverter (Ideal)
- Half and Full Bridge

## Slide 5: Inverter Types
3-Leg (For 3-phase inverter)
3-Leg Inverter (Ideal)

## Slide 6: Schemes of Inverters to study
Phase Output | Bridge | Switching Schemes | Ideal Circuit Diagram Operation Output Waveform Harmonics Practical Circuit Diagram Avoiding shoot through
Single Phase | Half | Square Wave | 
 |  | Pules Width Modulation | 
 | Full | Square Wave | 
 |  | Pules Width Modulation (Bipolar & Unipolar) | 
Three Phase | 3-Leg | Square Wave | 
 |  | Pules Width Modulation | 

## Slide 7: Schemes of Inverters to study
Phase Output | Bridge | Switching Schemes | Operation in different switching schemes Output Waveform Harmonics Practical Circuit Avoiding shoot through
Single Phase | Half | Square Wave | 
 |  | Pules Width Modulation | 
 | Full | Square Wave | 
 |  | Pules Width Modulation (Bipolar & Unipolar) | 
Three Phase | 3-Leg | Square Wave | 
 |  | Pules Width Modulation | 

## Slide 8: Operation
Half Bridge Inverter (Ideal)
Closed
Closed
Open
Open
- Square Wave Switching

## Slide 9: Operation
Pulse Width Modulation (PWM) Switching
  Is a type of switching technique.
  Use two signals called
    (Triangular Signal)
      Has frequency (called switching frequency)
    (Control Signal)
      Has frequency (desired fundamental frequency)
v
v
v

## Slide 10: Operation
Pulse Width Modulation (PWM) Switching
  (Triangular Signal) is compared with (Control Signal)
  Based on comparison result different switches are made closed (ON) and open (OFF)
  Output voltage swings between positive and negative voltages
= +

## Slide 11: Operation
Pulse Width Modulation (PWM) Switching
  (Triangular Signal) is compared with (Control Signal)
  Based on comparison result different switches are made closed (ON) and open (OFF)
  Output voltage swings between positive and negative voltages
= -

## Slide 12: Harmonics
What are harmonics?
  Pure Sinusoid is required.
  The output is different both in square-wave and PWM switching
  There is need to analyze the presence of other sinusoids having frequencies multiple of desired sinusoid, called harmonics, available in output.
Output (Square Wave Switching)
Desired
Actual
Output (PWM Switching)
Desired
Actual

## Slide 13: Harmonics
Harmonics in Square Wave Switching
  There is need to analyze the presence of other sinusoids having frequencies multiple of desired sinusoid, called harmonics, available in output.

## Slide 14: Harmonics
-
Harmonics in Square Wave Switching
  There is need to analyze the presence of other sinusoids having frequencies multiple of desired sinusoid, called harmonics, available in output.

## Slide 15: Harmonics
-
Harmonics in Square Wave Switching
  There is need to analyze the presence of other sinusoids having frequencies multiple of desired sinusoid, called harmonics, available in output.
Fourier Series

## Slide 16: Harmonics
Harmonics in PWM Switching
  To analyze “harmonics” for PWM switching we need to understand two new terms:
    Amplitude Modulation Ratio and Frequency Modulation Ratio.
v
v
v
Amplitude Modulation Ratio
Frequency Modulation Ratio
Peak Value of Control Signal
Peak Value of Triangular Signal
Frequency of triangular signal
also called switching frequency
Frequency of control signal also
called desired fundamental frequency

## Slide 17: Harmonics
Harmonics in PWM Switching

## Slide 18: Harmonics
Harmonics in PWM Switching
2. The amplitude of the fundamental-frequency component of the output voltage varies linearly with (provided ).
1. The peak amplitude of the fundamental-frequency component is times .
3. The harmonics in the inverter output voltage waveform appear as sidebands, centred around the switching frequency and its multiples, that is, around harmonics 2 , 3 , and so on.

## Slide 19: Harmonics
Harmonics in PWM Switching
4. Theoretically, the frequencies at which voltage harmonics occur can be indicated as:
5. the harmonic order corresponds to the sideband of times the frequency modulation ratio

## Slide 20: Harmonics
Harmonics in PWM Switching
6. For odd values of , the harmonics exist only for even values of . For even values of , the harmonics exist only for odd values of .

## Slide 21: Practical Half Bridge Inverter
Made through real components
  Square Wave Switching
Avoiding
Shoot through
Both switches on
Shoot Through

## Slide 22: Practical Half Bridge Inverter
Made through real components
  PWM Switching
Both switches on
Shoot Through

## Slide 23: Practical Half Bridge Inverter
Made through real components
  Avoiding shoot through in PWM Switching
Causing Shoot Through
Additional of blanking time to avoid shoot through
Blanking Time

## Slide 24: Avoiding Shoot through
Blanking Time